AKT1 Antibody

- Antibody basic information

| Cat No. | Contents | Isotype | MW of target |
| --- | --- | --- | --- |
| NBP1-51602 |  | Mouse IgG1 | 60kDa |

- Testing result

AKT1 can be detected in COS cells (see reference). So we use lysates from COS cells for WB assay.

1) Western blot result at 1:1000 dilution of AKT1 antibody.

Western blot analysis of extracts from COS cells using AKT1 antibody at dilution of 1:1000.

2) Western blot result at 1:100 dilution of AKT1 antibody.

Western blot analysis of extracts from COS cells using AKT1 antibody at dilution of 1:100.

- Conclusion

NBP1-51602 detected endogenous level of AKT1 in COS cell lysates in WB at dilution of 1:1000.